## Outstanding Works
KEBOCHAD CIVILS OUTSTANDING WORKS
ITEM No. | DESCRIPTION | UNIT | QTY | RATE | AMOUNT (US$)
A | Excavate in any material for cleaning culverts, depth not exceeding 2m and cart offsite
| (i) Clean culvert drains | m3 | 11 |  | 0
0
B | Supply all materials and construct 230mm thick | no. | 3 |  | 0
| brick headwalls with dimensions to match existing . |  |  |  | 0
0
C | Supply all materials, deliver to site and construct gate valve chambers including cast iron cover and frame all as detailed on standard drawing for: |  |  |  | 0
0
| a) 75mm dia | no. | 1 |  | 0
0
D | C.I. Fire hydrant complete with flanged riser pipe | No | 3 |  | 0
0
E | Fire hydrant boxes complete with |  |  |  | 0
| cast iron cover | No | 3 |  | 0
0
F | Fire hydrant marker plates complete |  |  |  | 0
| with posts | No | 3 |  | 0
G | 80mm diameter gate valve | No | 2 |  | 0
0
H | Valve boxes complete with |  |  |  | 0
| cast iron cover | No | 3 |  | 0
0
I | Valve marker plates complete |  |  |  | 0
| with posts | No | 3 |  | 0
0
| Clamp Sadles |  |  |  | 0
J | 75mm nb clamp saddles | No | 21 |  | 0
K | Supply and install house connections as detailed.
Include for a marker using SWG12 wire wrapped
around pipe and laid to the surface above the
connection point. Attach a steel plate painted yellow
to indicate this position
| Double House connections | No | 21 |  | 0
L | Allow for liasing and connecting into existing water line | sum | 1 |  | 0
M | Allow for pressure tests on water line | sum | 1 |  | 0
N | Allow for backfilling on water line | sum | 1 |  | 0
O | Allow for disinfection of pipeline after completion of pressure tests | sum | 1 |  | 0
P | Removed Asbestos pipes to be stacked in the shed on the farm | sum | 1 |  | 0
Q | Contractor to remove storm water drains excavated materials away from the drains to a distance that the spoils wont backfill into the drains | sum | 1 |  | 0
0
KEBOCHAD OUTSTANDING CIVILS BILL SUMMARY PAGE
ITEM |  | DESCRIPTION |  |  | AMOUNT
1 | PRELIMINARY AND GENERAL |  |  |  | 0
ITEMS
2 | OUTSTANDING WORKS |  |  |  | 0
| SUB- TOTAL |  |  |  | 0
| ADD 15.5 % VAT |  |  |  | 0
| TOTAL |  |  |  | 0
| CONTINGENCIES 5% |  |  |  | 0
| TOTAL CARRIED TO FORM OF TENDER |  |  |  | 0