## Cover
A1040
HOMELINK (PVT) LTD
Strathmore Housing Development
Water, Sewer, Roads & Stormwater Engineer's Estimate
DOCUMENT NUMBER
Stra | A1040 | C | BoQ | D001 |  | A3
REVISION HISTORY
A3 | 19.01.2024 | REVISED DETAILED DESIGN |  | G K | SM | SM
A2 | 28.03.2023 | DETAILED |  | G K | SM | SM
A1 | 3.12.2018 | Preliminary |  | G K | SM | SM
REV | DATE | DESCRIPTION |  | ORIG | CHKD | APPRVD

## P&Gs
BILL NO. 1 - PRELIMINARY & GENERAL
ITEM No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT (US$)
1 | PRELIMINARY & GENERAL
Contractual requirements
Establish facilities on site
1.1 | Allow a provisional sum for a notice board | SUM | SUM
1.2 | Contractors mark up on item A1(…………..% ) | SUM | SUM
1.3 | Water supply, electricity power and communication | SUM | SUM
Facilities for the contractor
1.4 | Office and storage sheds | SUM | SUM
1.5 | Workshops | SUM | SUM
1.6 | Living accommodation & ablution latrine facilities | SUM | SUM
1.7 | Tools and equipment to site | SUM | SUM
1.8 | Water supply, electricity power and communication | SUM | SUM
1.9 | Plant for Earthworks and pavement construction | SUM | SUM
1.1 | Plant for Concrete | SUM | SUM
1.11 | Soil Testing covering borrow-pit, and base layers | SUM | SUM
1.12 | Remove Contractors site establishment on completion of Works , Clear site including all waste materials and debris and reinstate to original condition. | SUM | SUM
1.13 | Allow for compliance with all clauses of the Conditions of Contract and Specifications not mentioned herein and all Contractors obligations of every kind not covered elsewhere. | SUM | SUM
Engineer's fascility
1.14 | The contractor shall allow for a sum of US$20 000.00 (Twenty Thousand United States Dollars) to be spent on the engineer time related cost, PPE, transport, communication, site meetings etc for the whole duration of the contract and this shall be spend as per the engineer's instructions. | 1 | SUM | 20000 | 20000
1.15 | Contractors mark up on item 1.14 | 1 | SUM |  | 0
1.16 | Provide the sum of USD 50 000 (Fifty thousand dollars) for compaction and materials tests as directed by the Client/Engineer. | 1 | SUM | 50000 | 50000
1.17 | Contractors mark up on item 1.16 | 1 | SUM |  | 0
TIME RELATED ITEMS
(Duration of construcion)
1.18 | Operate and maintain facilities on site for duration of the Contract | SUM | SUM
1.19 | Supervision |  | mnth |  | 0
1.2 | Company and office overheads |  | mnth
1.21 | Allow supervisional sum for employment by the Bidder of a technical assistant for the Engineer nominated by the Engineer |  | m |  | 0
1.22 | Contractors mark up on item 1.16 |  | mnth |  | 0
1.23 | Other time related overheads |  | mnth |  | 0
1.24 | Construct and maintain all necessary detours and accommodate traffic during the construction period |  | mnth |  | 0
| TOTAL CARRIED TO SUMMARY |  |  |  | 70000

## WATER
BILL NO. 2 - WATER RETICULATION
ITEM No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT (US$)
2 | WATER RETICULATION
Earthworks and excavation
2.1 | Allow for the clearing of a 2m wide strip of all the bushes, undergrowth small tress girth n.e. 0.5m along water main route | 4.5 | ha
2.2 | Remove and grub trees with girth more than 0.5m (provisional) | 30 | Sum
2.3 | Allow for demolition of existing concrete as directed by engineer | 1 | Sum
2.4 | Allow for removal of graves and all necessary liason with Local Authorities and interested parties | 1 | Sum
2.5 | Allow for protection of artifacts and all necessary liason with Local Authorities and interested parties | 1 | Sum
2.6 | Allow for dismantling of existing sevices (electricity,water,sewer etc) | 1 | Sum
2.7 | Allow for reinstatement of services dismantled in 2.6 above | 1 | Sum
Excavations
2.8 | Excavation 0.8m wide in any material for pipe trenches for pipes below 350mm dia. Inc. backfilling, compacting to 90% HCE and trench for surplus materials adjacent to the trench for depth not exceeding 1.0m in normal material
a) Depth Not Exceeding 1.0m in Normal Material
| i) 90mm bore pipes | R.O | m
| ii) 110mm bore pipes | R.O | m
| iii) 160mm bore pipes | R.O | m
| iv) 200mm bore pipes | R.O | m
b) Depth Exceeding 1m but n.e. 2m
| i) 90mm bore pipes | 14141.45 | m |  | 0
| ii) 110mm bore pipes | R.O | m
| iii) 160mm bore pipes | 7369 | m |  | 0
| iv) 200mm bore pipes | R.O | m
c) Depth Exceeding 2m but n.e. 3m
| i) 200mm bore pipes | R.O | m
2.9 | Extra over item 2.8 for additional excavation under drains, culverts, cables etc. | R.O | m3
2.1 | Exra over 2.8 for excavation in: (PROVISIONAL QUANTITIES)
| a) Soft material | 15232 | m³ |  | 0
| b) Hard material | 2539 | m³ |  | 0
| b) Rock | 7616 | m³ |  | 0
2.11 | Excavate ant hills as specified | 1269 | m³ |  | 0
2.12 | Treat ant hills as specified | 1269 | m2 |  | 0
2.13 | Load haul, unload, spread and level out all surplus material from excavation to approved tip. Free haul 1km | 1750 | m³ |  | 0
2.14 | Trim bottom of trench excavation where directed up to 100mm below depth required for pipe laying,refill with selected material and prepare bedding. Free haul 0.5km | 2200 | m³ |  | 0
2.15 | Allow for excavation and removal of old pipes. | 1 | Sum |  | 0
2.16 | Supply and place stone bedding as detailed (PROVISIONAL QUANTITIES) | 400 | m³ |  | 0
2.17 | Supply and place Class 'A' Unreignforced Concrete | 400 | m |  | 0
2.18 | Provide 150mm concrete surround to 150mm below pipe invert
| a) 200mm nb pipe | R.O | m
| b) 160mm nb pipe | 40 | m |  | 0
| c) 90mm nb pipe | 325 | m |  | 0
2.19 | Extra over Item 2.8 to 2.11 for cement stabilised backfill | 450 | m |  | 0
2.2 | Extra over Item 2.8 to 2.11 for additional compaction under roadways as specified | 900 | m³ |  | 0
2.21 | Extra over item 2.8 to 2.11 for importing material suitable for backfilling. Rate to include for win from borrow,load haul up to 1.0km and dump. To be measured after compaction | 9500 | m³ |  | 0
2.22 | Over haul on item 2.10 (Rock) | 7616 | m³/km |  | 0
2.23 | Over haul on item 2.21 (Fill) | 1350 | m³/km |  | 0
| TOTAL CARRIED TO SUMMARY |  |  |  | 0
ITEM No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT (US$)
|  | Balance b/d |  |  | 0
PIPELAYING
NOTES
2.24 | Rates are to cover all necessary cutting, fitting, jointing with flexible joints, laying and bedding as specified
Supply, lay , bed, joint, haunch, test and sterilise pipes including excavation and backfilling. Test pressure 12 bars.
| a) 90mm diameter PVC class 12 | 14141.45 | m |  | 0
| b) 160mm diameter PVC class 12 | 7369 | m |  | 0
| b) 200mm diameter PVC class 12 | R.O | m
FITTINGS, VALVES, ETC
Extra over item 2.24 for supply and instalation of the following items/fittings complete with CISC
2.25 | CI Y Piece
| a) 90mm x 90mm | 15 | No. |  | 0
| b) 90mm x 160mm | 5 | No. |  | 0
| c) 90mm x 200mm | 7 | No. |  | 0
| d) 160mm x 160mm | 5 | No. |  | 0
| e) 160mm x 200mm | R.O | No.
| f) 200mm x 200mm | R.O | No.
2.26 | CI Tees |  |  | `
a) For 90mm Pipes
| i) 90mm x 90mm | 25 | No. |  | 0
| ii) 90mm x 160mm | 11 | No. |  | 0
| iii) 90mm x 200mm | R.O | No.
b) For 160mm Pipes
| i) 160mm x 160mm | 1 | No. |  | 0
| ii) 160mm x 200mm | R.O | No.
c) For 200mm Pipes
| i) 200mm x 200mm | R.O | No.
2.27 | Clockwise closing CI Gate valves (plain ended)
| a) 80mm diameter | 20 | No. |  | 0
| b) 150mm diameter | 13 | No. |  | 0
| c) 200mm diameter | R.O | No.
| CI Fire Hydrants Tees with 75mm flanged branch |  | No.
2.28
| a) 90mm diameter | 55 | No. |  | 0
| b) 150mm diameter | 25 | No. |  | 0
| c) 200mm diameter | R.O | No.
2.29 | Cast Iron Standard Bends
a) 90 Deg Bend
| i) 90mm x 90 deg | 7 | No. |  | 0
| ii) 160mm x 90 deg | 1 | No. |  | 0
| iii) 200mm x 90 deg | R.O | No.
b) 45 Deg Bend
| i) 90mm x 45 deg | 72 | No. |  | 0
| ii) 160mm x 45 deg | 8 | No. |  | 0
| iii) 200mm x 45 deg | R.O | No.
c) 22.5 Deg Bend
| i) 90mm x 22.5 deg | 16 | No. |  | 0
| ii) 160mm x 22.5 deg | 6 | No. |  | 0
| iii) 200mm x 22.5 deg | R.O | No.
d) 11.25 Deg Bend
| i) 90mm x 11.25 deg | 10 | No. |  | 0
| ii) 160mm x 11.25 deg | 2 | No. |  | 0
| iii) 200mm x 11.25 deg | R.O | No.
2.3 | Cast Iron Non-Standard Bends
a) 90mm
| i) 90mm x 15-20 degs | 3 | No. |  | 0
| ii) 90mm x 30-33 degs | 15 | No. |  | 0
| iii) 90mm x 35-37 degs | 2 | No. |  | 0
| iv) 90mm x 51 deg | 3 | No. |  | 0
| v) 90mm x 56-62 deg | 4 | No. |  | 0
b) 160mm
| i) 160mm x 17 deg | 1 | No. |  | 0
| ii) 160mm x 32 deg | 3 | No. |  | 0
| iii) 160mm x37 deg | 1 | No. |  | 0
2.31 | CI Blank End Caps
| a) 90mm diameter | 1 | No. |  | 0
| b) 160mm diameter | R.O | No.
| c) 200mm diameter | R.O | No.
2.32 | Malleable iron saddle clamp or equal approved connection with 75mm boss complete with bolts, nuts and rubber insertion disk, boss drilled and tapped for 25mm connection
| a) 90mm bore pipe | 280 | No. |  | 0
| b) 160mm bore pipe | 146 | No. |  | 0
| d) 200mm bore pipe | R.O | No.
2.33 | Extra over item 2.32 for supply and installation from saddle clamp (measured above) house connections as per standard drawing.
a) Triple house connection
| i) 90mm bore pipe | 6 | No. |  | 0
| ii) 160mm bore pipe | 3 | No. |  | 0
| iii) 200mm bore pipe | R.O | No.
b) Double house connection
| i) 90mm bore pipe | 293 | No. |  | 0
| ii) 160mm bore pipe | 114 | No. |  | 0
| iii) 200mm bore pipe | R.O | No.
c) Single house connection
| i) 90mm bore pipe | 52 | No. |  | 0
| ii) 160mm bore pipe | 23 | No. |  | 0
| iii) 200mm bore pipe | R.O | No.
2.34 | Supply, install and test fire hydrants complete with 75mm double flanged gate valve Class 16, duckfoot bend and adaptor piece with cap including bolts, nuts and gaskets. | 80 | No. |  | 0
2.35 | Extra over item 2.32 for supplying and installing extension piece not exceeding 1m in length and 90 deg bend. Both pieces to be 75mm galvanised steel, double flanged and drilled. Include for bolts, nuts, gaskets etc | 80 | No. |  | 0
2.36 | Supply, install and test air valves complete with flanged tee off pipe, variable cast iron riser pipe, nuts, bolts etc for
| a) 160mm bore pipe | 1 | No. |  | 0
2.36 | Supply all materials and install detailed markers as per standard drawing for the following
| a. Gate valves | 33 | No. |  | 0
| b. Hydrants | 80 | No. |  | 0
| c. End Caps | 1 | No. |  | 0
Miscellaneous
2.37 | Supply all materials, deliver to site and construct gate valve chambers including cast iron cover and frame all as detailed on standard drawing for:
| a) 90mm dia | 28 | No. |  | 0
| b) 160mm dia | 13 | No. |  | 0
| c) 200mm dia | R.O | No.
2.38 | Supply all materials, deliver to site and construct air valve chamber including cast iron cover and frame all as detailed on standard drawing for
| a) 160mm dia | 1 | No. |  | 0
2.39 | Supply all materials, deliver to site and construct fire hydrant chambers complete with cast iron cover and frame all as detailed on standard drawing | 80 | No. |  | 0
2.4 | Extra over item 2.37 to 2.39 for excavation in:
| a) Hard material | 15 | m³ |  | 0
| b) Rock | 50 | m³ |  | 0
2.41 | Supply all materials, deliver to site and construct concrete thrust blocks including all necessary rough shuttering | 80 | m³ |  | 0
2.42 | Extra over items 2.24 and 2.25 for special bedding or protection as detailed on standard drawings where directed by the Engineer (PROVISIONAL)
| a) Class A | R.O
| b) Class B | R.O
| c) Class C | R.O
| d) Concrete surround | R.O
2.43 | Allow for disinfection of pipeline after completion of hydraulic tests | 1 | Sum |  | 0
2.44 | Allow for connection to existing City of Harare Water Supply System including supply of materials, excavation and construction of a connection chamber complete with fitting i.e. gate valves, pressure reducing valve etc | 1 | Sum |  | 0
2.45 | Allow for demolition of existing structures along pipeline route | 1 | Sum |  | 0
| TOTAL CARRIED TO SUMMARY |  |  |  | 0

## SEWER
BILL NO. 3 - SEWERAGE RETICULATION
ITEM No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT (US$)
3 | SEWERAGE RETICULATION
EXCAVATION
NOTES
Reference should be made to the notes at the commencement of Water Reticulation Section : Earthworks as they also apply to this section of the Bill of Quantities.
3.1 | Excavate and refill trenches 800mm wide for 450mm nb sewer pipes
| a) Up to 1.0m deep | 0 | m
| b) Over 1.0m up to 2.0m deep | 1724 | m |  | 0
| c) Over 2.0m up to 3.0m deep | 403 | m |  | 0
| d) Over 3.0m up to 4.0m deep | 170 | m |  | 0
3.2 | Excavate and refill trenches 800mm wide for 300mm nb sewer pipes
| a) Up to 1.0m deep | 0 | m
| b) Over 1.0m up to 2.0m deep | 445 | m |  | 0
| c) Over 2.0m up to 3.0m deep | 52 | m |  | 0
| d) Over 3.0m up to 4.0m deep | 0 | m |  | 0
3.3 | Excavate and refill trenches 725mm wide for 225mm nb sewer pipes
| a) Up to 1.0m deep | 0 | m
| b) Over 1.0m up to 2.0m deep | 1370 | m |  | 0
| c) Over 2.0m up to 3.0m deep | 245 | m |  | 0
| d) Over 3.0m up to 4.0m deep | 58 | m |  | 0
3.4 | Excavate and refill trenches 650mm wide for 160mm nb sewer pipes
| a) Up to 1.0m deep | 0 | m
| b) Over 1.0m up to 2.0m deep | 3675 | m |  | 0
| c) Over 2.0m up to 3.0m deep | 854 | m |  | 0
| d) Over 3.0m up to 4.0m deep | 15 | m |  | 0
3.5 | Exra over 3.1 to 3.3 for excavation in: (PROVISIONAL QUANTITIES)
| a) Soft material | 7356 | m³ |  | 0
| b) Hard material | 1226 | m³ |  | 0
| b) Rock | 3678 | m³ |  | 0
3.6 | Trim bottom of trench excavation where directed up to 100mm below depth required for pipe laying,refill with selected material and prepare bedding. Free haul 0.5km | 800 | m³ |  | 0
3.7 | Supply and place stone bedding as detailed (PROVISIONAL QUANTITIES | 500 | m³ |  | 0
3.8 | Supply and place Class 'A' Unreignforced Concrete | 400 | m |  | 0
3.9 | Provide 150mm concrete surround to 150mm below pipe invert
| a) 450mm nb pipe | 10 | m |  | 0
| b) 315mm nb pipe | 10 | m |  | 0
| c) 225mm nb pipe | 10 | m |  | 0
| d) 160mm nb pipe | 325 | m |  | 0
3.1 | Extra over Item 3.1 to 3.4 for cement stabilised backfill | 450 | m |  | 0
| TOTAL CARRIED TO SUMMARY |  |  |  | 0
ITEM No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT (US$)
|  | Balance b/d |  |  | 0
3.11 | Extra over Item 3.1 to 3.4 for additional compaction under roadways as specified | 900 | m³ |  | 0
3.12 | Extra over item 3.1 to 3.4 for importing material suitable for backfilling. Rate to include for win from borrow,load haul up to 1.0km and dump. To be measured after compaction | 5000 | m³ |  | 0
3.13 | Over haul on item 3.5 (Rock) | 3678 | m³/km |  | 0
3.14 | Over haul on item 3.11 (Fill) | 1000 | m³/km |  | 0
PIPELAYING
NOTES
3.15 | Rates are to cover all necessary cutting, fitting, jointing with flexible joints, laying and bedding as specified
Take delivery, off-load, handle, lay,joint, bed and test sewer pipes as specified
| a) 450mm nb PVC sewer pipes | 2297 | m |  | 0
| b) 315mm nb PVC sewer pipes | 497 | m |  | 0
| c) 225mm nb PVC sewer pipes | 1673 | m |  | 0
| d) 160mm nb PVC sewer pipes | 4544 | m |  | 0
3.16 | Extra over item 3.15 for short lengths of pipes in inlet and outlet to manholes
| a) 450mm nb PVC sewer pipes | 31 | m |  | 0
| b) 315mm nb PVC sewer pipes | 31 | m |  | 0
| c) 225mm nb PVC sewer pipes | 48 | m |  | 0
| d) 160mm nb PVC sewer pipes | 888 | m |  | 0
3.17 | Extra over item 3.15 for short lengths of pipes in stand connections
| a) 160mm nb PVC sewer pipes | 1250 | m |  | 0
3.18 | Single Y-junctions for stand connections ( with complete sleeves)
| a) 160/100 Single angle 45º junctions | 945 | No. |  | 0
| b) 225/100 Single angle 45º junctions | 44 | No. |  | 0
| c) 315/100 Single angle 45º junctions | 12 | No. |  | 0
| d) 450/100 Single angle 45º junctions | 31 | No. |  | 0
3.19 | Extra over Item 3.18 for construction of vertcal backdrops for deep stand connections into main reticulaton as shown on standard drawings
| TOTAL CARRIED TO SUMMARY |  |  |  | 0
ITEM No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT (US$)
|  | Balance b/d |  |  | 0
| a) Up to 2.0m deep | 10 | No. |  | 0
| b) Over 2.0 up to 2.5m deep | 10 | No. |  | 0
| c) Over 2.5 up to 3.0m deep | 5 | No. |  | 0
3.2 | 100mm PVC End Cap | 1040 | No. |  | 0
3.21 | Stand connection markers | 1040 | No. |  | 0
MANHOLES
3.22 | Take delivery of all materials, unload, handle, and built complete 1050mm diameter precast concrete manholes on 160mm and 225mm diameter sewers. Include for additional excavation outside limit of trench, shuttering and concrete to base slab, beching with grano finish, bedding rings in mortar, step irons, roof slab with 560 diameter opening, make up brick work for spacer rings, precast concrete frame and cover and testing all as detailed and specified , not exceeding 1.5m deep | 139 | No. |  | 0
3.23 | Extra over Item 3.22 for manholes
| a) Deeper than 1.5m but not exceeding 2.0m | 46 | No. |  | 0
| b) Deeper than 2.0m but not exceeding 3.0m | 22 | No. |  | 0
| c) Deeper than 3.0m but not exceeding 4m | 0 | No. |  | 0
3.24 | Extra over Item 3.22 and 3.23 for straight through manholes | 180 | No. |  | 0
3.25 | Extra over Item 3.22 and 3.23 for manholes with either junctions or bends | 27 | No. |  | 0
3.26 | Extra over Item 3.22 for construction of vertcal backdrops for manholes Type 'A' into main reticulaton as shown on standard drawings | 2 | No. |  | 0
3.27 | Extra over Item 3.22 for construction of vertcal backdrops for manholes Type 'B' into main reticulaton as shown on standard drawings | 0 | No.
3.28 | Extra over Item 3.22 and 3.23 for manholes with stand connections | 58 | No. |  | 0
3.29 | Take delivery of all materials, unload, handie, and builtd complete 1200mm diameter precast concrete manholes on 300mm and 525mm diameter sewers. Include for additional excavation outside limit of trench, shuttering and concrete to base slab, beching with grano finish, bedding rings in mortar, step irons, roof slab with 560 diameter opening, make up brick work for spacer rings, precast concrete frame and cover and testing all as detailed and specified , not exceeding 1.5m deep | 28 | No. |  | 0
3.3 | Extra over Item 3.29 for manholes
| a) Deeper than 1.5m but not exceeding 2.0m | 14 | No. |  | 0
| b) Deeper than 2.0m but not exceeding 3.0m | 9 | No. |  | 0
| c) Deeper than 3.0m but not exceeding 4.5m | 3 | No.
3.31 | Extra over Item 3.29 and 3.30 for straight through manholes | 42 | No. |  | 0
| TOTAL CARRIED TO SUMMARY |  |  |  | 0
ITEM No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT (US$)
|  | Balance b/d |  |  | 0
3.32 | Extra over Item 3.29 and 3.30 for manholes with either junctions or bends | 12 | No. |  | 0
3.33 | Extra over Item 3.29 for construction of vertcal backdrops for manholes Type 'A' into main reticulaton as shown on standard drawings | 0 | No. |  | 0
0
3.34 | Extra over Item 3.29 for construction of vertcal backdrops for manholes Type 'B' into main reticulaton as shown on standard drawings | 0 | No. |  | 0
0
3.35 | Extra over Item 3.29 and 3.30 for manholes with stand connections | 3 | No. |  | 0
0
3.33 | Bitumen coated cast iron ABC rodding way and joint with gaskin and cement/sand mortar. Include for ramp to sewer about 0.5m deep and finished 150mm above ground level. The ramp and rodding way to be surrounded in 1:3:6 concrete not less than 100mm thick | 5 | No. |  | 0
| TOTAL CARRIED TO SUMMARY |  |  |  | 0

## EMERGENCY POND
Bill No. 5 - EMERGENCY POND
ITEM No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT (US$)
5 | EMERGENCY POND
Earthworks and excavation
5.1 | Clear reservoir site of grass, top soil, shrubs and trees not exceeding 0.5m girth and boulders ne 1 cu.m | 1152.87 | m2 |  | 0
5.2 | Construct access road of 4m width from proposed 18m road to sewage pumpstation site | 1300 | m |  | 0
5.3 | Allow for demolition of existing concrete as directed by engineer | 1 | Sum |  | 0
5.4 | Allow for removal of graves and all necessary liason with Local Authorities and interested parties | 1 | Sum |  | 0
5.5 | Allow for protection of artifacts and all necessary liason with Local Authorities and interested parties | 1 | Sum |  | 0
5.6 | Allow for dismantling of existing sevices (electricity,water,sewer etc) | 1 | Sum |  | 0
5.7 | Allow for reinstatement of services dismantled in 5.6 above | 1 | Sum |  | 0
5.8 | Bulk excavations in soft material for emergency pond finihsed platform level as shown on the drawings or as determined by the engineer. | 2363 | m3 |  | 0
5.9 | Excavate in soft material for pond base, Inlet and Outlet Structures etc. | 140 | m3 |  | 0
5.1 | Extra over mass excavation in soft material for;
| i) Intermediate material | 846 | m³ |  | 0
| ii) Hard Material | 700 | m³ |  | 0
| iii) Hard Rock excavation | 700 | m³ |  | 0
| iv) Boulder Class A | R.O | m³
5.11 | Prepare pond base, scarify lose areas to a depth of 150mm and compact to 93% HCE with selected excavated fill material to receive G5 Material | 140 | m³ |  | 0
5.12 | Trim Inlet and Outlet bases etc to required level for receiving blinding and concrete. Include for vertical trimming on walls | 50 | m2 |  | 0
Concrete
5.13 | Provide all materials, mix, place, vibrate and cure concrete. Rates to include for forming all corner chamfers and construction joints
| 5.13.1 Grade 10A concrete in blinding layer 50mm | 50 | m2 |  | 0
| 5.13.2 Mass concrete 15MPa to pipework surrounds. Include for formwork. | 10 | m³ |  | 0
5.13.3 Grade 30A reinforced concrete in
| 5.13.3.1 Inlet Structue | 56 | m³ |  | 0
| 5.13.3.2 Outlet Structure | 13 | m³ |  | 0
Reinforcement
5.14 | Supply, cut, bend, and fix reinforcement bars into position. Allow for lapping, waste and stools. | 2 | ton |  | 0
Formwork Steel Float Finish
5.15 | Supply smooth wrot vertical shuttering, include for forming all rebates, keys etc. for:- | 1 | Sum |  | 0
| 5.15.1 Inlet Structure | 63 | m2 |  | 0
| 5.15.2 Outlet Structure | 70 | m2 |  | 0
Pipework (See Schedules)
NOTES
5.16 | Rates are to cover all necessary cutting, fitting, jointing with flexible joints, laying and bedding as specified
Take delivery, off-load, handle, lay,joint, bed and test sewer pipes as specified
| a) 315mm nb PVC sewer pipes | 3143 | m |  | 0
Pond Lining
5.17 | Supply and Installation of pond liner in 1.5mm thick PE membrane pond liner anchored as detailed |  | m2 |  | 0
5.18 | Supply and place geotextile fabric as specified between PE membrane in Item 3B2-X9.7 and rip rap layer including for the toe loop and anchorage length |  | m2 |  | 0
5.19 | Life saving Rings complete with galvanised pole | 1 | nr |  | 0
5.2 | Solar electric lighting posts shall consist of an LED lamp on a galvanized steel pole as follows:
| a) 30Watt lamp | 1 | nr |  | 0
| b) 80Watt panel | 1 | nr |  | 0
| c) 100Ah battery | 1 | nr |  | 0
| d) Charge control regulator | 1 | nr |  | 0
| e) Mounted on 6m galvanised steel pole fitted with a lockable battery box sufficiently sized to house the battery and regulator. | 1 | nr |  | 0
5.21 | Danger of drowning signs 14"x 10" as Dwg… | 1 | nr |  | 0
| TOTAL CARRIED TO SUMMARY |  |  |  | 0

## SEWAGE PUMPSTATION
Bill No. 6 - SEWAGE PUMPSTATION
ITEM No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT (US$)
6 | Sewage Pumpstation
Earthworks and excavation
6.1 | Clear pumpstation site of grass, top soil, shrubs and trees not exceeding 0.5m girth and boulders ne 1 cu.m | 265 | m2 |  | 0
6.2 | Construct access road and turning area | 265 | m2 |  | 0
6.3 | Allow for demolition of existing concrete as directed by engineer | 1 | Sum |  | 0
6.4 | Allow for removal of graves and all necessary liason with Local Authorities and interested parties | 1 | Sum |  | 0
6.5 | Allow for protection of artifacts and all necessary liason with Local Authorities and interested parties | 1 | Sum |  | 0
6.6 | Allow for dismantling of existing sevices (electricity,water,sewer etc) | 1 | Sum |  | 0
6.7 | Allow for reinstatement of services dismantled in 4.6 above | 1 | Sum |  | 0
6.8 | Bulk excavations in soft material for pumpstation finihsed platform level as shown on the drawings or as determined by the engineer. | 509 | m3 |  | 0
6.9 | Extra over mass excavation in soft material for;
| i) Intermediate material160mm bore pipes | 50 | m³ |  | 0
| ii) Hard Material 200mm bore pipes | 50 | m³ |  | 0
| iii) Hard Rock excavation | 100 | m³ |  | 0
| iv) Boulder Class A | R.O | m³
6.1 | Prepare sewage pumpstation floor base, scarify lose areas to a depth of 100mm and compact to 93% HCE with selected excavated fill material to receive concrete | 11 | m³ |  | 0
6.11 | Trim floor, wall and column bases etc to required level for receiving blinding and concrete. Include for vertical trimming on walls | 302 | m2 |  | 0
Concrete
6.12 | Provide all materials, mix, place, vibrate and cure concrete. Rates to include for forming all corner chamfers and construction joints
| 6.12.1 Grade 10A concrete in blinding layer 50mm | 106 | m2 |  | 0
| 6.12.2 Mass concrete 15MPa to pipework surrounds under floor and pipes. Include for formwork. | 5 | m³ |  | 0
6.12.3 Grade 30A reinforced concrete in
| 6.12.3.1 Walls | 63 | m³ |  | 0
| 6.12.3.2 Columns | 2 | m³ |  | 0
| 6.12.3.3 Beams | 5 | m³ |  | 0
| 6.12.3.4 Floor Slab | 75 | m³ |  | 0
| 6.12.3.5 Roof Slab | 15 | m³ |  | 0
Reinforcement
6.13 | Supply, cut, bend, and fix reinforcement bars into position. Allow for lapping, waste and stools. | 20 | ton |  | 0
Formwork Steel Float Finish
6.14 | Supply smooth wrot vertical shuttering, include for forming all rebates, keys etc. for:- |  | Sum |  | 0
| 6.14.1 Walls | 285 | m2 |  | 0
| 6.14.2 Roof Slab, include for scaffolds etc | 140 | m2 |  | 0
| 6.14.3 Beams | 47 | m2 |  | 0
| 6.14.4 Columns | 33 | m2 |  | 0
6.15 | Extra over concrete for building in pipes with puddle flanges. | 400 | m |  | 0
| 6.15.1 315mm diameter Inlet Sewer Pipe | 1 | No. |  | 0
| 6.15.2 315mm diameter Rising Main Sewer Pipe | 1 | No. |  | 0
| 6.15.3 315mm diameter Emergency Sewer Pipe | 1 | No. |  | 0
6.16 | Supply and seal all horizontal joints in concrete walls with water stops as per manufacturer specification | 10.98 | m |  | 0
Pipework (See Schedule)
6.17 | Supply, fix, test and internally and externally line pipes and fittings with coupon epoxy. All flanges to Table 10 - BS 4504 and Steel to API Spec X52 and X42. | 450 | m |  | 0
6.17.1 Suction
| 6.17.1.1 300 Bellmouth (10) | 3 | No. |  | 0
| 6.17.1.2 300 Dia Straight Double Flanged Pipe 791mm Long (6) | 3 | No. |  | 0
| 6.17.1.3 300 Dia. 90 Deg Double Flanged Short Radius Bend (1) | 3 | No. |  | 0
| 6.17.1.4 300Dia. Straight Double Flanged Pipe 885mm Long with puddle flange 453 from one end (3) | 3 | No. |  | 0
| 6.17.1.5 300 Dia. Double Flanged Gate Valve (5) | 3 | No. |  | 0
| 6.17.1.6 300 Dia-250 Dia. Double Flanged Reducer (9) | 3 | No. |  | 0
| TOTAL CARRIED TO SUMMARY |  |  |  | 0
ITEM No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT (US$)
|  | Balance b/d |  |  | 0
6.17.2 Delivery
| 6.17.2.1 300 Dia-250 Dia. Double Flanged Reducer (9) | 3 | No. |  | 0
| 6.17.2.2 300Dia. Straight Double Flanged Pipe 2610mm Long pipe (2) | 3 | No. |  | 0
| 6.17.2.3 300 Dia. 90 Deg Double Flanged Short Radius Bend (1) | 5 | No. |  | 0
| 6.17.2.4 300 Dia. Double Flanged Non-Return Valve (4) | 3 | No. |  | 0
| 6.17.2.5 300 Dia. Double Flanged Gate Valve (5) | 4 | No. |  | 0
| 6.17.2.6 300 Dia. Straight Double Flanged Pipe 365mm Long (7) | 1 | No. |  | 0
| 6.17.2.7 300 Dia Double Fanged Swept Tee Pipe (8) | 3 | No. |  | 0
| 6.17.2.8 300 Dia. Straight Double Flanged Pipe 1572mm Long (11) | 3 | No. |  | 0
| 6.17.2.9 300 Dia. Viking Johnson Coupling (12) | 2 | No. |  | 0
| 6.17.2.10 300Dia. Straight Double Flanged Pipe 1725mm Long (14) | 1 | No. |  | 0
| 6.17.2.11 300Dia. Flanged Spigot Piece 600mm Long with Puddle Flange 290 from flanged end (15) | 2 | No. |  | 0
6.18 | Rain Water Pipes
Allowance should made for insertion of 100mm PVC pipes on roof slab;
| 6.18.1 100mm Dia, 4800mm Long PVC Class 6 pipes complete with 45 deg bends. | 4 | No. |  | 0
6.19 | Miscellaneous
| 6.19.1 Supply and fix in position Handrailing including Access Ladder as detailed. | 1 | Sum |  | 0
| 6.19.2 Supply and fix in position Sliding Door as detailed. | 1 | Sum |  | 0
| 6.19.3 Supply and fix in position Crane Beam as detailed. | 1 | Sum |  | 0
| 6.19.4 Supply and fix in position Windows including Glazings. | 1 | Sum |  | 0
| TOTAL CARRIED TO SUMMARY |  |  |  | 0
| TOTAL CARRIED TO GENERAL SUMMARY |  |  |  | 0

## ROADS & STORMWATER DRAINAGE
BILL NO. 7 - ROADWORKS AND STORMWATER DRAINAGE
ITEM | DESCRIPTION | UNIT | QTY. | RATE | AMOUNT
7.1 | Clearance
7.1.1 | Clear the road areas of all bush and
small trees (girth less than 1m
measured 1m above ground)
including grubbing, stumps and
| root system disposal. | m2 | 316990 |  | 0
7.1.2 | Removal of trees, girth exceeding
| 1m | No | 15 |  | 0
7.2 | Earthworks
7.2.1 | Remove topsoil up to 150mm thick
from all road formation including all
grass and roots and spread within
1km radius of site, excludes drain
| areas | m3 | 47548.5 |  | 0
7.2.2 | Shaping of road formation by
cutting and filling and compacting to
93% Mod. AASHTO in 150mm
| layers. | m3 | 9509.7 |  | 0
7.2.3 | Cut to waste of unsuitable materials
| or expansive sections | m3 | 11887.125 |  | 0
7.2.4 | Extra over excavation for hard
| excavation | m3 | 9509.7 |  | 0
7.2.5 | Extra over excavation for rock
| excavation | m3 | 14264.55 |  | 0
7.2.6 | Anthill excavation to waste including
| treatment of affected areas. | m3 | 2377.425 |  | 0
7.2.7 | Borrow to fill. Rate to include win from borrow, load ,
haul upto 1km and dump. To be measured after
| compaction | m3 | 28529.1 |  | 0
7.2.8a | Overhaul of suitable fill material, surplus excavated and
| unsuitable excavated material. | m3km | 261516.75 |  | 0
7.2.8b | Overhaul of excavated rock | m3km | 71322.75 |  | 0
| SUB - TOTAL CARRIED FORWARD |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QTY. | RATE | AMOUNT
| SUB - TOTAL BROUGHT FORWARD |  |  |  | 0
7.3 | Subgrade Preparation
7.3.1 | Scarify, water, mix, trim, shape and | m2 | 170000 |  | 0
compact to 93% Mod. AASHTO
the uppermost 150mm of road
formation to form subgrade
7.4 | Pavement Works
7.4.1 | Supply all materials, spread, water, mix and control
compact 150mm thick base 2, class
3.3 natural gravel to 96%
Mod. AASHTO including knapping
| and watering. | m3 | 25500 |  | 0
7.4.1 | Supply all materials, spread, water, mix and control
compact 150mm thick base 1, class
3.0 natural gravel to 98%
Mod. AASHTO including knapping
| and watering. | m3 | 25500 |  | 0
| SUB - TOTAL CARRIED FORWARD |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QTY. | RATE | AMOUNT
| SUB - TOTAL BROUGHT FORWARD |  |  |  | 0
7.5 | SURFACING
7.5.1 | (i)Supply and apply MC30 prime at
| 0.8 l/m2 | m2 | r/o
(ii)Supply and apply TP7 prime at
| 0.8 l/m2 | litres | 136000 |  | 0
Double Seal
7.5.2 | supply and place 80/100 bitumen binder for tack coat at
| 1.30 l/m2 | litres | 221000 |  | 0
7.5.3 | supply and place 13mm aggregate for tack coat at
| 0.009 m3/m2 | m2 | 170000 |  | 0
7.5.4 | supply and place 80/100 bitumen binder for seal coat at
| 0.9 l/m2 | litres | 153000 |  | 0
7.5.5 | supply and place 7mm aggregates for seal coat at
| 0.007m3/m2 | m2 | 170000 |  | 0
Single Seal
7.5.6 | supply and place 13mm aggregate for seal coat at
| 0.009 m3/m2 | m2 | 41510 |  | 0
7.5.7 | supply and place 80/100 bitumen binder for seal coat at
| 1.3 l/m2 | litres | 53963 |  | 0
7.6 | ANCILLARY WORKS
7.6.1 | Supply and spray to a width of 100mm carriageway
markings:
I | White undercoat paint | m2 | 1040 |  | 0
ii | White reflectorised paint | m2 | 1040 |  | 0
iii | Yellow undercoat paint | m2 | 1040 |  | 0
iv | Yellow reflectorised paint | m2 | 1040 |  | 0
7.6.2 | Signs and barriers
i | Supply and erect stop signs | No. | 24 |  | 0
complete with post
ii | Supply and erect giveway signs | No. | 40 |  | 0
ii | Supply and erect Chevron signs | No. | 7 |  | 0
complete with post
iii | Supply and erect street name | No. | 100 |  | 0
signs as directed. (Standard MS
plate or other approved bolted
to 3mx50mm GMS pipe).
7.6.3 | Supply and install H7 kerbs | m | r/o
7.6.4 | supply and install H9 municipal | m | 3000 |  | 0
kerbs in accordance with
details at intersections
| SUB - TOTAL CARRIED FORWARD |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QTY. | RATE | AMOUNT
| SUB - TOTAL BROUGHT FORWARD |  |  |  | 0
7.7 | STORMWATER DRAINAGE AND
ANTI-EROSION WORKS
7.7.1 | Excavate in any material for
stormwater drainage sections and
slopes, depth not exceeding 2m
| (i) Underground drains | m3 | 1046 |  | 0
| (ii) Vee drains | m3 | 7420.5 |  | 0
| (ii) Trapezoidal drains | m3 | 4122.5 |  | 0
7.7.2 | Extra over excavation for hard | m3 | 2308.6 |  | 0
7.7.3 | Extra over excavation for rock | m3 | 1154.3 |  | 0
7.7.4 | Stone pitching or lining to stormwater drains | m2 | 16819.8 |  | 0
7.7.5 | Excavate for, supply all materials including any additional works and construct bolsters as detailed (PROVISIONAL) | No. | 25 |  | 0
7.7.6 | Supply and install underground concrete pipes class 'S' type:
| a) 450mm diameter | m | 526 |  | 0
| b) 600mm diameter | m | 500 |  | 0
| c)750mm diameter | m | 20 |  | 0
7.7.7 | Allow for construction of Junction Box | No | 16 |  | 0
7.8 | JUNCTION AND ROAD CROSSING CULVERTS
7.8.1 | Common excavation, pumping and backfilling
| a) Up to 2.0m deep | m3 | 120 |  | 0
| b) Over 2.0m and up to4m | m3 | r/o
7.8.2 | Extra over items 2.8.1 for excavation in
(PROVISIONAL QUANTITIES)
| a) Hard material | m3 | 24 |  | 0
| b) Rock | m3 | 24 |  | 0
7.8.3 | Overhaul on item 7.8.2b | m3km | 120 |  | 0
7.8.4 | Supply and install road crossing concrete pipes class 'S' type:
| a) 450mm diameter | m | 270 |  | 0
| b) 600mm diameter | m | 310 |  | 0
| c) 750mm diameter | m | 290 |  | 0
| c) 1200mm diameter | m
7.8.5 | supply and place grade C15 concrete for culverts as bedding, haunch and pipe surround | m3 | 558 |  | 0
7.8.6 | Culvert end treatment
| a) Stone pitching or lining to pipe culverts ends | m2 | 360 |  | 0
| b) Supply all materials and construct 230mm thick | m2 | 90 |  | 0
concrete headwalls as detailed.
| SUB - TOTAL CARRIED FORWARD |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QTY. | RATE | AMOUNT
| SUB - TOTAL BROUGHT FORWARD |  |  |  | 0
7.9 | ACCESS CULVERTS
7.9.1 | Common excavation, pumpinng and backfilling
| a) Up to 2.0m deep | m3 | 1944.576 |  | 0
| b) Over 2.0m and up to4m | m3 | r/o
7.9.2 | Extra over items 7.9.1 for excavation in
(PROVISIONAL QUANTITIES)
| a) Hard material | m3 | 388.9152 |  | 0
| b) Rock | m3 | 388.9152 |  | 0
7.9.3 | Overhaul on item 7.8.2b | m3km | 1944.576 |  | 0
7.9.4 | Supply and install Access concrete pipes class 'S' type:
| a) 450mm diameter | m | 1519.2 |  | 0
| b) 600mm diameter | m | 1519.2 |  | 0
7.9.5 | supply and place grade C15 concrete for culverts as bedding, haunch and pipe surround | m3 | 941.904 |  | 0
| TOTAL CARRIED TO SUMMARY |  |  |  | 0

## RAW SEWAGE RISING MAIN
Bill No. 8 -RAW SEWAGE RISING MAIN
ITEM No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT (US$)
8 | RAW SEWAGE RISING MAIN
Earthworks and excavation
8.1 | Allow for the clearing of a 3m wide strip of all the bushes, undergrowth small tress girth n.e. 0.5m along pipeline main route | 2.13 | ha |  | 0
8.2 | Remove and grub trees with girth more than 0.5m (provisional) | 50 | PS |  | 0
8.3 | Allow for demolition of existing concrete as directed by engineer | 1 | PS |  | 0
8.4 | Allow for removal of graves and all necessary liason with Local Authorities and interested parties | 1 | PS |  | 0
8.5 | Allow for protection of artifacts and all necessary liason with Local Authorities and interested parties | 1 | PS |  | 0
8.6 | Allow for dismantling of existing sevices (electricity,water,sewer etc) | 1 | PS |  | 0
8.7 | Allow for reinstatement of services dismantled in 8.6 above | 1 | PS |  | 0
Excavations
8.8 | Excavation 1m wide in any material for pipe trenches for 300mm dia. pipes. Inc. backfilling, compacting to 90% HCE and disposal of surplus materials adjacent to the trench for depth not exceeding 1.5m in normal material
a) Depth Exceeding 1.0m but n.e. 1.5m
| i) 300mm bore pipes | 7100 | m |  | 0
Soft Material
8.9 | Exra over 1.8 for excavation in: (PROVISIONAL QUANTITIES) |  |  |  |  | Trench Width | Depth | %age
[6 empty] | 1 | 1.5 | 0.5
| a) Soft material | 5325 | m³ |  | 0 | 5325
| b) Hard material | 3195 | m³ |  | 0 | Hard Material
[6 empty] | Trench Width | Depth | %age
| b) Rock | 2130 | m³ |  | 0 | 1 | 1.5 | 0.3
3195
8.1 | Excavate ant hills as specified | 1118.25 | m³ |  | 0
Rock Material
8.11 | Treat ant hills as specified | 111.825 | m2 |  | 0 | Trench Width | Depth | %age
[6 empty] | 1 | 1.5 | 0.2
8.12 | Load haul, unload, spread and level out all surplus material from excavation to approved tip. Free haul 1km | 5325 | m³ |  | 0 | 2130
8.13 | Trim bottom of trench excavation where directed up to 100mm below depth required for pipe laying,refill with selected material and prepare bedding. Free haul 0.5km | 710 | m³ |  | 0
8.14 | Allow for excavation and removal of old pipes. | 1 | Sum |  | 0
8.15 | Supply and place stone bedding as detailed (PROVISIONAL QUANTITIES) | 50 | m³ |  | 0 | At Chambers in boggy ground
8.16 | Supply and place Class 'A' Unreignforced Concrete | 50 | m |  | 0 | `
8.17 | Provide 150mm concrete surround to 150mm below pipe invert
| a) 300mm nb pipe | 50 | m |  | 0
8.18 | Extra over Item 8.8 to 8.11 for cement stabilised backfill | 20 | m |  | 0
8.19 | Extra over Item 8.8 to 8.11 for additional compaction under roadways as specified | 50 | m³ |  | 0
8.2 | Extra over item 8.8 to 8.11 for importing material suitable for backfilling. Rate to include for win from borrow,load haul up to 1.0km and dump. To be measured after compaction | 2500 | m³ |  | 0
8.21 | Over haul on item 8.9 (Rock) | 213 | m³/km |  | 0 | From 8.9b | 10% of Rocks that cannot be disposed off along trench
8.22 | Over haul on item 8.21 (Fill) | 1523 | m³/km |  | 0
| TOTAL CARRIED TO SUMMARY |  |  |  | 0
ITEM No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT (US$)
|  | Balance b/d |  |  | 0
PIPELAYING
NOTES
8.23 | Rates are to cover all necessary cutting, fitting, jointing with flexible joints, laying and bedding as specified
| Supply, lay , bed, joint, haunch, test and sterilise pipes including excavation and backfilling. Test pressure 16 bars. |  |  |  |  | 320m Head Assumed, ideally it must be brought down to 25 bar.
| a) 300mm diameter STEEL/DI Class 12 | 7100 | m |  | 0
FITTINGS, VALVES, ETC
Extra over item 8.23 for supply and instalation of the following items/fittings complete with CISC
8.24 | CI Tees
a) For 300mm Pipes
| i) 300mm x 300mm | 1 | No. |  | 0
8.25 | Clockwise closing CI Gate valves (plain ended)
| a) 300mm diameter | 7 | No. |  | 0 | Assumed 1 per km
8.26 | Cast Iron Standard Bends
a) 90 Deg Bend
| i) 300mm x 90 deg | 3 | No. |  | 0
b) 45 Deg Bend
| i) 300mm x 45 deg | 3 | No. |  | 0 | Assumed 2 per km
c) 22.5 Deg Bend
| i) 300mm x 22.5 deg | 4 | No. |  | 0 | Assumed 2 per km
d) 11.25 Deg Bend
| i) 300mm x 11.25 deg | 3 | No. |  | 0 | Assumed 2 per km
8.27 | Cast Iron Non-Standard Bends
a) 300mm
| i) 300mm x --- degs | 0 | No. |  | 0
8.28 | CI Blank End Caps
| a) 300mm diameter | 3000 | No. |  | 0 | Assumed 1 per km
8.29 | Supply, install and test air valves complete with flanged tee off pipe, variable cast iron riser pipe, nuts, bolts etc for
| a) 300mm bore pipe | 1 | No. |  | 0 | Assumed 1 per km
8.3 | Supply all materials and install detailed markers as per standard drawing for the following
| a. Gate valves | 7 | No. |  | 0 | Assumed 1 per km
Miscellaneous
8.31 | Supply all materials, deliver to site and construct gate valve chambers including cast iron cover and frame all as detailed on standard drawing for:
| a) 300mm dia | 7 | No. |  | 0 | Assumed 1 per km
8.32 | Supply all materials, deliver to site and construct air valve chamber including cast iron cover and frame all as detailed on standard drawing for
| a) 300mm dia | 1 | No. |  | 0
8.33 | Extra over item 8.31 to 8.32 for excavation in:
| a) Hard material | 30 | m³ |  | 0
| b) Rock | 50 | m³ |  | 0
8.34 | Supply all materials, deliver to site and construct concrete thrust blocks including all necessary rough shuttering | 15 | m³ |  | 0
8.35 | Extra over items 8.23 and 8.24 for special bedding or protection as detailed on standard drawings where directed by the Engineer (PROVISIONAL)
| a) Class A | R.O
| b) Class B | R.O
| c) Class C | R.O
| d) Concrete surround | R.O
8.36 | Supply all materials, deliver to site and construct concrete pipe bridges including all necessary rough shuttering and fixings | 1 | PS |  | 0
8.37 | Supply all materials, deliver to site and install cathodic protection as necessary at all changes of pipe material including fixings | 1 | PS |  | 0
| TOTAL CARRIED TO SUMMARY |  |  |  | 0

## SUMMARY
ITEM | DESCRIPTION | AMOUNT (US$)
SUMMARY OF BILLS OF QUANTITIES
1 | PRELIMINARY & GENERAL
2 | WATER RETICULATION
3 | SEWERAGE RETICULATION
5 | EMERGENCY POND
6 | RAW SEWAGE PUMP STATION
7 | ROADS & STORMWATER
8 | RAW SEWAGE RISING MAIN
ADD 10% P&Gs
ADD 10% CONTINGENCIES
SUB-TOTAL 2
ADD 15% VALUE ADDED TAX
TOTAL